## Cover
BESS PROJECT FINANCIAL MODEL
Battery Energy Storage System — IRR & Investment Analysis
Shaurya Solar & BESS ¦ Pac Energy
Model Version | v1.0 — April 2026
Prepared By | Shaurya Handa, Director — Pac Energy
Project Type | Grid-Scale BESS (LFP Chemistry)
Model Currency | Indian Rupees (Rs Lakhs unless stated)
Project Life | 20 Years
Base Year | 2026
Last Updated | April 2026
SHEET INDEX
Assumptions | All project inputs and key assumptions
CapEx | Capital expenditure breakdown
Revenue | Revenue model — energy arbitrage + ancillary
OpEx | Operating expenditure — O&M, insurance, mgmt
Debt Service | Loan drawdown, repayment, interest schedule
P&L | Profit & Loss — 20 year projection
Cash Flow | Project cash flow and DSCR
IRR & Returns | IRR, NPV, Payback, Equity returns
Sensitivity | Sensitivity analysis — tariff, CapEx, degradation
Supplier Intel | Raw material costs & procurement intelligence

## Assumptions
BESS PROJECT — KEY ASSUMPTIONS
Blue cells = inputs you can change ¦ Yellow background = key assumptions
A. PROJECT OVERVIEW
Project Name | Pac Energy BESS Project | text
Project Location | Surat, Gujarat | text
Project Developer | Pac Energy / Pac Solar | text
BESS Chemistry | LFP (Lithium Iron Phosphate) | text
Installed Capacity | 10 | MWh
Power Rating | 5 | MW
Duration (hrs) | 2 | hours
Number of Cycles/Day | 2 | cycles
Project Life | 20 | years
COD (Commercial Op) | 2026 | year
Degradation/Year | 2% | %
Round Trip Efficiency | 88% | %
Availability Factor | 97% | %
B. CAPITAL EXPENDITURE (Rs Lakhs)
Item | Unit | Value | Note
Battery Cells (LFP) | Rs/kWh | 1800 | LFP cells landed cost incl. BCD
Battery Management System | Rs/kWh | 200 | BMS hardware + software
PCS / Inverter | Rs/kWh | 300 | Power Conversion System
EMS / SCADA | Rs Lakhs | 25 | Energy Management System
Civil & Structural | Rs Lakhs | 40 | Foundation, enclosure
Electrical Balance | Rs Lakhs | 30 | Cables, switchgear, transformers
Grid Connection | Rs Lakhs | 50 | SLDC approval, metering, line
Testing & Commissioning | Rs Lakhs | 15 | FAT, SAT, commissioning
Project Dev & Legal | Rs Lakhs | 10 | PPA, land, approvals
Contingency | %CapEx | 0.05 | 5% of total CapEx
C. REVENUE ASSUMPTIONS
Energy Arbitrage Tariff | Rs/kWh | 5.5 | Peak-offpeak spread
Ancillary Services Revenue | Rs/kWh | 0.8 | Frequency regulation, reserves
Capacity Charge | Rs/kW/month | 0 | If applicable under PPA
Annual Tariff Escalation | % | 3% | 3% per year
Operating Days/Year | days | 350 | Excluding maintenance shutdowns
D. OPERATING EXPENDITURE
O&M Cost (Year 1) | Rs Lakhs/yr | 15 | Preventive + corrective maintenance
O&M Escalation | % | 5% | 5% per year
Insurance | Rs Lakhs/yr | 5 | Asset + liability insurance
Land Lease / Rent | Rs Lakhs/yr | 3 | If applicable
Management Fee | Rs Lakhs/yr | 2 | Admin overhead
Battery Replacement Reserve | %CapEx/yr | 2% | Sinking fund for cell replacement Yr10
E. FINANCING STRUCTURE
Debt : Equity Ratio | % | 70% | 70% debt, 30% equity
Loan Interest Rate | % | 10% | 10% p.a. (term loan)
Loan Tenure | years | 12 | Including moratorium
Moratorium Period | years | 1 | Interest only during construction
DSCR Requirement | x | 1.25 | Min DSCR covenant
Equity IRR Target | % | 18% | 18% hurdle rate
Discount Rate (WACC) | % | 12% | For NPV calculation
Tax Rate | % | 25% | Corporate tax + surcharge
Depreciation Method |  | SLM | Straight Line Method
Depreciation Rate | % | 5% | 5% per year on plant & machinery

## IRR & Returns
BESS PROJECT — 20 YEAR CASH FLOW & IRR MODEL
Rs Lakhs (unless stated) | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Yr 1 | Yr 2 | Yr 3 | Yr 4 | Yr 5 | Yr 6 | Yr 7 | Yr 8 | Yr 9 | Yr 10 | Yr 11 | Yr 12 | Yr 13 | Yr 14 | Yr 15 | Yr 16 | Yr 17 | Yr 18 | Yr 19 | Yr 20
REVENUE
Installed Capacity (MWh) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Degradation Factor
Effective Capacity (MWh)
Cycles/Day | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Operating Days | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
Annual Energy Throughput (MWh)
Round Trip Efficiency | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88% | 88%
Net Energy Delivered (MWh)
Arbitrage Tariff (Rs/kWh) | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5
Tariff Escalation Factor
Effective Tariff (Rs/kWh)
Energy Revenue (Rs Lakhs)
Ancillary Revenue (Rs Lakhs)
TOTAL REVENUE (Rs Lakhs)
OPERATING EXPENDITURE
O&M Cost (Rs Lakhs)
Insurance (Rs Lakhs)
Land & Admin (Rs Lakhs)
Battery Reserve (Rs Lakhs)
TOTAL OPEX (Rs Lakhs)
EBITDA & CASH FLOW
EBITDA (Rs Lakhs)
Depreciation (Rs Lakhs)
EBIT (Rs Lakhs)
Interest (Rs Lakhs)
EBT (Rs Lakhs)
Tax (Rs Lakhs)
Net Profit (Rs Lakhs)
Add: Depreciation
Less: Debt Repayment
FREE CASH FLOW (Rs L)
RETURNS SUMMARY
Total Project CapEx (Rs Lakhs)
Equity Investment (Rs Lakhs)
Debt (Rs Lakhs)
Project IRR (20 yr) | bar: Yr 1
Equity IRR (20 yr) | bar: Yr 1
NPV @ 12% WACC (Rs Lakhs)
Payback Period (years)
DSCR (Year 1)

## Sensitivity
SENSITIVITY ANALYSIS
Scenario | Tariff (Rs/kWh) | CapEx (Rs L) | Degradation (%/yr) | Project IRR | Equity IRR | NPV (Rs L) | Payback (yr)
Base Case | 5.5 | 500 | 2.0% | ~18% | ~22% | ~120 | ~7
Low Tariff (-20%) | 4.4 | 500 | 2.0% | ~12% | ~14% | ~40 | ~10
High Tariff (+20%) | 6.6 | 500 | 2.0% | ~24% | ~30% | ~210 | ~5
High CapEx (+15%) | 5.5 | 575 | 2.0% | ~14% | ~16% | ~70 | ~9
Low CapEx (-10%) | 5.5 | 450 | 2.0% | ~21% | ~26% | ~155 | ~6
High Degradation | 5.5 | 500 | 3.0% | ~15% | ~18% | ~85 | ~8
Low Cycles (1/day) | 2.75 | 500 | 2.0% | ~8% | ~9% | ~-20 | ~14
Bull Case | 6.6 | 450 | 1.5% | ~28% | ~35% | ~280 | ~4
Bear Case | 4 | 575 | 3.0% | ~6% | ~7% | ~-80 | >20
Key Sensitivities (Impact on Project IRR):
1. Tariff rate is the MOST sensitive variable — a 20% drop reduces IRR by ~6 percentage points
2. CapEx optimization (procurement, local sourcing) can improve IRR by 3-4 points
3. Cycle count (revenue model) critical — target minimum 2 cycles/day in PPA negotiations
4. Battery degradation manageable with BMS optimization and active thermal management
5. Ancillary services revenue (frequency regulation) can add 1-2 IRR points

## Supplier Intel
SUPPLIER PRICING INTELLIGENCE — BESS RAW MATERIALS
Source: Industry reports, trader quotes Q1 2026 ¦ Update quarterly
A. KEY RAW MATERIAL & COMPONENT PRICES
Component | Unit | Low (Rs) | Mid (Rs) | High (Rs) | Trend | Notes & Key Suppliers
RAW MATERIALS
Lithium Carbonate | Rs/kg | 800 | 1,100 | 1,500 | ▼ Falling | Global glut; China spot ~$10-13/kg. Watch CATL, Ganfeng pricing
Lithium Hydroxide (battery grade) | Rs/kg | 850 | 1,200 | 1,600 | ▼ Falling | NMC chemistry; prefer carbonate for LFP
Iron Phosphate (FePO4) | Rs/kg | 180 | 220 | 280 | → Stable | Key LFP precursor; Indian sources available
Graphite (anode) | Rs/kg | 120 | 180 | 250 | ▲ Rising | China controls 85% supply; BIS certification needed
Electrolyte | Rs/kg | 400 | 550 | 700 | → Stable | Fluorinated solvents; limited Indian production
Copper (current collector) | Rs/kg | 700 | 750 | 820 | ▲ Rising | MCX-linked; hedge exposure >500kg
Aluminium (casing/foil) | Rs/kg | 200 | 225 | 260 | → Stable | Indian producers: Hindalco, Vedanta
Steel (structural) | Rs/kg | 55 | 65 | 80 | → Stable | SAIL, Tata Steel; domestic sourcing preferred
BATTERY CELLS & MODULES
LFP Prismatic Cell (100Ah) | Rs/kWh | 10,000 | 12,500 | 15,000 | ▼ Falling | CATL, BYD, EVE, CALB; BIS cert mandatory from 2025
LFP Prismatic Cell (280Ah) | Rs/kWh | 9,500 | 11,500 | 14,000 | ▼ Falling | Best $/kWh ratio; ask for 10-yr cycle warranty
LFP Battery Module (assembled) | Rs/kWh | 13,000 | 16,000 | 20,000 | ▼ Falling | Add ~30% on cell cost for module assembly
NMC Cell (high energy) | Rs/kWh | 14,000 | 17,000 | 22,000 | ▼ Falling | Higher energy density; thermal risk; avoid for grid
Sodium Ion Cell (emerging) | Rs/kWh | 11,000 | 13,000 | 16,000 | ▼ Falling | No lithium; watch CATL sodium launch 2025-26
BALANCE OF SYSTEM
Battery Management System (BMS) | Rs/kWh | 1,200 | 1,800 | 2,500 | → Stable | SOFAR, Dynavolt, Delta; look for UL/IEC certified
Power Conversion System (PCS) | Rs/kW | 8,000 | 12,000 | 18,000 | ▼ Falling | Sungrow, Huawei, ABB; 500kW+ preferred for scale
Energy Management System (EMS) | Rs Lakhs | 15 | 25 | 40 | → Stable | Custom SCADA preferred; open protocol (Modbus/CAN)
DC-DC Converter | Rs/kW | 3,000 | 5,000 | 8,000 | → Stable | For hybrid AC/DC coupling
Transformer (MV) | Rs/MVA | 8,00,000 | 12,00,000 | 18,00,000 | → Stable | BHEL, Schneider India; 14-16 week lead time
Switchgear (33kV) | Rs Lakhs | 20 | 35 | 55 | → Stable | ABB, Siemens India; utility-grade
Fire Suppression System | Rs Lakhs | 8 | 15 | 25 | → Stable | FM200/Novec; mandatory for BESS enclosure
Cooling System (HVAC/liquid) | Rs/kWh | 800 | 1,200 | 1,800 | → Stable | Liquid cooling adds cost but extends cell life 20%
Steel Enclosure/Container | Rs Lakhs | 25 | 40 | 60 | → Stable | 2x40ft containers typical for 1MWh; fireproof rated
TURNKEY SYSTEM COST
BESS System Complete (turnkey) | Rs/kWh | 15,000 | 18,000 | 22,000 | ▼ Falling | Includes cells, BMS, PCS, EMS, civil, grid connection
Solar Rooftop (turnkey) | Rs/kW | 35,000 | 42,000 | 55,000 | ▼ Falling | Mono PERC bifacial; includes mounting, inverter, net meter
Solar + BESS Hybrid (turnkey) | Rs/kWh | 25,000 | 30,000 | 38,000 | ▼ Falling | Combined system; economies of scale apply
B. PROCUREMENT STRATEGY & RECOMMENDATIONS
1. SOURCING STRATEGY
Direct from Chinese OEMs | CATL, BYD, EVE, CALB — best $/kWh but need BIS certification. Use freight forwarder with EXIM experience. Min order: 1 MWh.
Indian Distributors/Integrators | Higher cost (+15-20%) but faster delivery, local support. Options: Luminous, Livguard, Epsilon Advanced, BessE (Surat).
Hybrid Model (recommended) | Buy cells direct, source BMS/PCS from Indian-certified vendors. Reduces cost by 10-15% vs full local sourcing.
2. COST REDUCTION LEVERS
Volume Aggregation | Pool 5+ MWh orders across projects. Negotiate 8-12% discount on cells. Form consortium with other developers.
Advance Procurement | Lock in LFP cells 6-9 months before COD when prices are low. Store in bonded warehouse. Savings: 5-15%.
Local Assembly | Import cells, assemble modules locally. Save 18% customs on assembled modules vs full battery pack import.
Long-Term Supply Agreement | 3-year agreement with CATL/EVE with price adjustment clause. Protects against supply disruption.
3. QUALITY CHECKLIST
BIS Certification (IS 16270) | Mandatory for cells sold in India from 2025. Verify NABL-certified test reports.
IEC 62619 / UL 9540 | International safety standards for stationary BESS. Required for insurance and utility interconnect.
Cycle Life Warranty | Minimum 4000 cycles at 80% DoD retention. Get bankable warranty from manufacturer.
Performance Guarantee | RTE > 92%, availability > 97%. Include liquidated damages in supply contract.
4. KEY CONTACTS / SUPPLIERS (indicative)
CATL India Liaison | catl.com — largest LFP supplier globally. Contact through Rajasthan/Gujarat agents.
EVE Energy India | evebattery.com — competitive pricing, good cycle life warranty
Sungrow India (PCS) | sungrowpower.com — strong service network India, IEC certified
BessE, Surat | Local integrator — good for pilot projects, faster delivery, local support
Delta Electronics India (BMS) | delta.com — strong BMS product line, IEC certified, Indian support

## CapEx
CAPEX BREAKDOWN — 10 MWh BESS PROJECT
Component | Qty | Unit Rate (Rs) | Total (Rs Lakhs) | % of CapEx | Remarks
BATTERY SYSTEM
LFP Cells (280Ah, 10 MWh) | 10,000 kWh | Rs 12,500/kWh | 125 |  | Direct import CATL/EVE; incl. BCD 5%
Battery Modules (assembly) | 10,000 kWh | Rs 2,000/kWh | 20 |  | Local assembly; reduces import duty
Battery Rack & Enclosure | 20 racks | Rs 0.8L/rack | 16 |  | Steel; fire-rated, IP55
Battery Management System | 10,000 kWh | Rs 1,800/kWh | 18 |  | Delta/SOFAR; IEC 62619 certified
Thermal Management (cooling) | 10,000 kWh | Rs 1,200/kWh | 12 |  | Liquid cooling; extends life 20%
Fire Suppression | 2 containers | Rs 7.5L/unit | 15 |  | Novec 1230; mandatory for insurance
POWER CONVERSION SYSTEM
PCS / Bidirectional Inverter | 5 MW | Rs 12,000/kW | 60 |  | Sungrow/Huawei; 4x1250kW units
DC-DC Converter | 5 MW | Rs 4,000/kW | 20 |  | For DC bus optimization
ENERGY MANAGEMENT
EMS / SCADA Software | 1 system | Rs 25L | 25 |  | Custom; Modbus/CAN open protocol
Remote Monitoring (5yr) | 1 system | Rs 5L | 5 |  | Cloud-based, IoT sensors
ELECTRICAL BALANCE
HV Transformer (33/0.4kV) | 1x5 MVA | Rs 60L | 60 |  | BHEL/ABB; 14-week lead time
Switchgear & Protection | 1 lot | Rs 35L | 35 |  | Schneider/ABB; with protection relay
DC & AC Cables | 1 lot | Rs 20L | 20 |  | Copper; AL for long runs
Metering & CT/PT | 1 lot | Rs 8L | 8 |  | Revenue-grade; DLMS compliant
CIVIL & STRUCTURAL
Civil Works (foundation) | 1 lot | Rs 25L | 25 |  | RCC pad; cable trenches; drainage
Structural Steel | 1 lot | Rs 15L | 15 |  | Module mounting, cable tray
Boundary Wall & Security | 1 lot | Rs 10L | 10 |  | CCTV, access control
GRID CONNECTION
SLDC/DISCOM Approval | 1 lot | Rs 20L | 20 |  | Application, SLD, DPR charges
Metering Point (PGCIL) | 1 lot | Rs 15L | 15 |  | Point of injection metering
Grid Line (if applicable) | 0 km | Rs 0 | 0 |  | Adjust if evacuation line needed
PROJECT DEVELOPMENT
Land (lease or purchase) | 500 sqm | Rs 0.02L/sqm | 10 |  | Or Rs 3L/yr lease — enter separately
Technical Consultancy | 1 lot | Rs 8L | 8 |  | DPR, feasibility, lender engineer
Legal & Regulatory | 1 lot | Rs 5L | 5 |  | PPA drafting, CERC filing
Testing & Commissioning | 1 lot | Rs 15L | 15 |  | FAT at factory, SAT on site
CONTINGENCY (5%) |  |  |  |  | 5% of above total
TOTAL PROJECT CAPEX |  |  |  |  | Rs Lakhs (update unit rates for project-specific pricing)